Cleaning High-Touch  Surfaces in Patient Care Areas

## 4	2

6	2	4

3

1

1

5

8

7

3

v

NURSES STATION

### Equipment Approved to Clean with PDI Super-Sani Wipe: 2-Minute Contact Time

#### Desks and hard surfaces of chairs

- Desk phones

- Computer keyboards

- Computer monitors

  - Clean only if visibly soiled

  - After contact time is elapsed—MUST clean touch-screen with water and wipe dry

#### Filing cabinets

- Intercom system

- Glucometer or Epoque Laboratory Handheld Device

Equipment Approved to Clean with Dispatch Bleach Wipe: 5-Minute Contact Time for Clostridium Difficile, 1-Minute Contact Time for all other Organisms

- Polycom phones

Cleaning High-Touch  Surfaces in Patient Care Areas

8

14	1

1

7

15

2

2

10	12	9

3

1

11	13

4	6

v

STANDARD  PATIENT  ROOM –  INTENSIVE CARE UNIT

### Equipment Approved to Clean with PDI Super-Sani Wipe: 2-Minute Contact Time

#### Boom

- Syringe pump

- Large-volume IV pump/ IV pole

- Over-bed table

- Bed/crib (not pictured)

- Warmer  or isolette

- Patient monitor with touchscreen

  - After contact time is elapsed—MUST clean touch-screen with water and wipe dry

#### GetWellNetwork console

  - Clean only as needed if visibly soiled

  - After contact time is elapsed—MUST clean touch-screen with water and wipe dry

#### Ventilator

- Parent chair and sleeping area

- Supply  cart—hard  surfaces only

- Computer on wheels

  - For Screens—After contact time is elapsed— MUST clean screen with water and wipe dry

#### Computer keyboard and mouse

- Exam light

- Privacy curtain

  - If patient is on Contact, Combined-Droplet,  or Combined-Airborne Isolation, curtain must be  changed  during  discharge cleaning

  - If patient is on Standard Precautions, curtain must be changed every six months

### If patient isolated for infection with Clostridium Difficile, Norovirus or Vancomycin-Resistant Enterococcus please use Dispatch wipe as cleaning agent.