Cleaning High-Touch  Surfaces in Patient Care Areas

## 4	2

6	2	4

3

1

1

5

8

7

3

v

NURSES STATION

### Equipment Approved to Clean with PDI Super-Sani Wipe: 2-Minute Contact Time

#### Desks and hard surfaces of chairs

- Desk phones

- Computer keyboards

- Computer monitors

  - Clean only if visibly soiled

  - After contact time is elapsed—MUST clean touch-screen with water and wipe dry

#### Filing cabinets

- Intercom system

- Glucometer or Epoque Laboratory Handheld Device

Equipment Approved to Clean with Dispatch Bleach Wipe: 5-Minute Contact Time for Clostridium Difficile, 1-Minute Contact Time for all other Organisms

- Polycom phones

Cleaning High-Touch  Surfaces in Patient Care Areas

6	9

4

2

1	7

5	8

3

2

STANDARD  PATIENT  ROOM  –  MEDICAL  SURGICAL UNIT

### Equipment Approved to Clean with PDI Super-Sani Wipe: 2-Minute Contact Time

#### Phone

- Parent chair and parent sleeping  couch

- Storage cabinet

- Patient bed or crib

- Over-bed table

- GetWellNetwork console

  - Clean only as needed if visibly soiled

  - After contact time is elapsed—MUST clean touch-screen with water and wipe dry

#### Large-volume IV pump/ IV pole

- Privacy curtain

  - If patient is on Contact, Combined-Droplet, or Combined-Airborne Isolation curtain must be  changed  during  discharge cleaning

  - If patient on Standard Precautions curtains are changed every six  months

#### Patient monitor with touchscreen

  - After contact time is elapsed—MUST clean touch-screen with water and wipe dry

v

### If patient isolated for infection with Clostridium Difficile, Norovirus or Vancomycin-Resistant Enterococcus please use Dispatch wipe as cleaning agent.