**PROCEDURE:**

1. UV disinfection system to be used to treat patient rooms on select inpatient units following a manual discharge clean by Environmental Services. UV disinfection system may not be used on rooms that have not been manually cleaned and disinfected by EVS.
2. UV disinfection system is approved for discharge disinfection on the following units.

|  |  |
| --- | --- |
| **Unit** | **Frequency** |
| Anderson Pavilion PICU, NICCU, CTICU | After discharges |
| Anderson Pavilion 4East | After discharges |
| Anderson Pavilion 4West | After discharges |
| BMT: Overflow/ Re-admits | Prior to admission  Note: In the event of a critical bed shortage, UV disinfection can be skipped at the direction of the House Sup if not BMT patient |
| Main Operating Room | Nightly terminal cleans of all Main Operating Rooms |
| Contact (+), Combined-droplet (+), Enhanced Contact, Enhanced Droplet, and SP Eyewear (excluding ED) | After discharges |
| Pharmacy | May be requested as needed  See Pharm 097 for details |

1. UV disinfection system may not be conducted in double rooms when occupied
2. Every effort should be made to treat each discharge on the approved units with UV disinfection system. Exceptions may only be made by CS House Supervisors due to high census or emergent need for bed.
3. UV disinfection system may be requested by Infection Prevention & Control team on an ad hoc basis for exposures, outbreaks, or highly infectious pathogens.
4. Approved unit list subject to change upon approval by Infection Control Committee.