IC – 716.1 Attachment A – Reusable Equipment Cleaning Schedule

| **EQUIPMENT** | DISINFECTANT | **WHO** | **WHEN** |
| --- | --- | --- | --- |
| AccuVein | PDI Super-Sani Wipe | User | Between patients and as needed if soiled |
| Alaris Infusion pumps | 70% IPA (Deep clean of interior)  PDI Super-Sani Wipe (exterior) | Agiliti  CS | Between patient use (inpatient and Emergency Department); Weekly (outpatient)  Daily (inpatient and Emergency Department), Between patients (outpatient) |
| Anesthesia cart and equipment | PDI Super-Sani Wipe | User | Between patient use; Daily |
| Bassinettes | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner | CS  EVS | Between patient use Daily/Discharge |
| Beds and Cribs | A-456II Disinfectant Cleaner | EVS | Daily wipe down of high-touch surfaces.Thorough clean between patients |
| Bedside commodes | PDI Super-Sani Wipes | Agiliti | Between patient use |
| Bedside glucose monitors | PDI Super-Sani Wipe | CS/User | Daily /between patient use |
| Bili lights/Bili blanket | PDI Super-Sani Wipe | Agiliti(select products)  CS (for products not managed byAgiliti) | Between patient use  As needed if soiled |
| Blood Pressure Cuffs - Inpatient | PDI Super-Sani Wipe | CS/User | Daily/As needed if soiled.  BP cuff used on single patient only and discarded upon patient discharge. |
| Blood Pressure Cuffs –Ambulatory Clinics | PDI Super-Sani Wipe | CS/User | After each patient use.  All blood pressure cuffs to be discarded on the 15th of every month or as needed if soiled. |
| Breast Pump Machines | PDI Super-Sani Wipe | CS or  Agiliti | Between patient use |
| Breast pump Kit/Accessories | See policy CC 175.0 Lactation Management for details | User | Between uses |
| Clean Utility Room Bins | A456-II Disinfectant Cleaner | Distribution Services  Users responsible for cleaning bins stocked with special order supplies | When soiled  Every 6 month deep clean |
| Code Cart / Crash Cart | PDI Super-Sani Wipe | CS  Distribution Services | Daily (outside of cart), Prior to redeployment (medication drawers)  Deep clean of opened cart drawers, prior to redeployment to unit |
| Curtains (patient care areas) | Hydrogen peroxide spray  Approved Laundry Detergent | CS  EVS/Laundry | As needed for spot cleaning  When visibly soiled or after discharge of patient on Isolation Precautions  Every 6 month for all curtains per schedule  Monthly for OR PACU, ASC PACU, ED, Radiology, Infusion Center |
| Defibrillators | PDI Super-Sani Wipe | CS | Between patients  As needed if soiled |
| ECMO Pumps/CRRT | PDI Super-Sani Wipe | CS | Daily/discharge |
| Electronic devices (e.g. smart phone, tablet) | PDI Super-Sani wipe (allow to dry for full 2 minute dwell time), followed by EasyScreen wipe  Preference for Device to be covered by protective case that can be wiped down | CS/User | Between patient use and as needed if soiled |
| Exercise equipment | A-456II Disinfectant Cleaner  PDI Super-Sani Wipe | EVS  CS | Daily in gyms  Upon discharge and as needed if stored in a patient room  Between patients for shared equipment  As needed if soiled |
| Get Well Network Hardware | Frame: PDI Super-Sani Wipe or A456II Disinfectant Cleaner  Screen: PDI Super-Sani Wipe or A456II Disinfectant Cleaner, followed by PDI EasyScreen wipes after disinfectant dries | PCS  EVS | As needed if soiled only  Daily wipe down, thorough clean on discharge |
| Gomko Machine | PDI Super-Sani Wipe | Agiliti | Between patient use |
| Gurney assigned to nursing unit | PDI Super-Sani Wipe | PCS/User | Between patient use |
| Gurneys – stationary (ED, PACU) | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner | PCS/User  EVS | Between patient use wipe down  As needed if soiled, Daily clean of bottom of gurney |
| Gurneys for patient transport | PDI Super-Sani Wipe | Transport team | Between pt. use |
| Headwall items, including:   * Suction regulators * Suction Canister Holders * Air/Oxygen Flowmeters * Air/Oxygen Blenders * Pressure Manometers | A-456II | EVS | Upon discharge (suction canister emptied first by CS; EVS cleans outside of canister) |
| Ice Machines/Dispenser | Vendor cleaning protocol  A-456II Disinfectant Cleaner | Vendor  EVS | Deep clean quarterly  Daily wipe down of outside |
| ICU Equipment stands, cardiac monitors | PDI Super-Sani Wipe, followed by PDI Easy Screen Wipes  A-456II Disinfectant Cleaner | CS  EVS | Monitor frames cleaned by CS as needed Discharge clean of the equipment stand |
| Isolette Covers | Laundry | EVS/Laundry | In between patients and when soiled |
| IV poles | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner  PDI Super-Sani Wipe | CS  EVS  Agiliti | if visibly soiled  Daily/Discharge  If removed from unit |
| Lead Aprons | PDI Super-Sani Wipe | User | After apron is directly exposed to blood or body fluids, when visibly soiled, or as needed. |
| Lead X-Ray Glass | Wipe with dry microfiber towel or cotton cloth | EVS | Daily/As needed (Note: difficult smudges can be cleaned with distilled water or Windex glass cleaner but must be immediately wiped dry with a separate clean microfiber towel.) |
| Linen Hamper stands | A-456II Disinfectant Cleaner | EVS | Daily/Discharge |
| Mayo Stand/Over-bed table | PDI Super-Sani Wipe;  A-456II Disinfectant | CS  EVS | Between patients and as needed if soiled  Daily/Discharge |
| Medication Carts  Exterior | PDI Super-Sani Wipe | CS | Between patient use and if visibly soiled |
| Medication refrigerator | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner | CS  EVS | As needed if soiled  Quarterly, coordinated with Pharmacy |
| Medication Room Bins | A456-II Disinfectant Cleaner | Distribution Services and Pharmacy for cleaning the bins they stock | When soiled  Every 6 month deep clean |
| Monitoring cables | PDI Super-Sani Wipe  A-456II | CS  EVS | Between patient use and if visibly soiled  Discharge |
| Nutrition Room Bins | A456-II Disinfectant Cleaner | Distribution Services, Food Services, Clinical Nutrition responsible for cleaning the bins they stock | When soiled  Every 6 month deep clean |
| O2 tank | PDI Super-Sani Wipe | CS/AirGas | Between patient use and if visibly soiled |
| Patient charts | PDI Super-Sani Wipe | CS | When visibly soiled  When Chart is pulled apart |
| Patient Room Computer keyboard/mouse | PDI Super-Sani Wipe  A 456-II Disinfectant Cleaner | CS  EVS | Once per shift and when visibly soiled  Quarterly deep clean |
| PCA Pump | PDI Super-Sani Wipe  70% IPA | Agiliti | Between patient use |
| Penguin Warmers | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner | CS  EVS | Inside the wells, before and after each use  Daily wipe down of outside of the breast milk warmer |
| PFT Machines | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner | CS  EVS | Between patient use and if visibly soiled  Daily/Discharge |
| Pillows | PDI Super-Sani Wipe  A456-II Disinfectant Cleaner | CS  EVS | Between patient use and if visibly soiled  Discharge |
| PolyCom staff communication devices | Dispatch Wipes | User | Every Shift and as needed if soiled or after use in a patient room. |
| Portable and reusable blood pressure cuff machine  Portable VS machine | PDI Super-Sani Wipe | CS | Between patient use/ if soiled |
| Portable machines: EKG, ultrasound, chest x-ray | PDI Super-Sani Wipe (exterior of machine)  PDI Sani-Cloth HB (green top wipes) for ultrasound probes (10 minute dwell time) | CS/User | Between patient use and if visibly soiled |
| Portable pulse ox machine | PDI Super-Sani Wipe | CS/Agiliti | Between patient use  Daily/Discharge |
| Pyxis | PDI Super-Sani Wipe  A456-II Disinfectant | PCS  EVS | As needed if visibly soiled  Weekly, exterior of Pyxis |
| Refrigerators | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner | CS  EVS | As needed/ if visibly soiled  Monthly |
| Reusable tubs | PDI Super-Sani Wipe – allow to dry completely | CS | Between patient use and as needed if soiled |
| Safe Patient Handling equipment | PDI Super-Sani Wipe | CS | Between patient use |
| Scales | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner | PCS  EVS | Between patient use and if visibly soiled Weekly and as needed |
| Shower chairs | PDI Super-Sani Wipe  A-456II Disinfectant Cleaner | CS  Agiliti  EVS | Between patient use in tub rooms  Between patients for covered items  Daily/Discharge |
| Showers/bath tubs | A-456II Disinfectant Cleaner | EVS | Daily/Discharge |
| Stethoscopes, Otoscopes | PDI Super-Sani Wipe | PCS/User | Between patients and as needed if soiled |
| Supply carts (Department) | PDI Super-Sani Wipe; | PCS  Distribution Services | As needed if soiled  Daily |
| Syringe Pumps | 70% IPA (Deep clean of interior)  PDI Super-Sani Wipe (exterior) | Agiliti  CS | Between patient use (inpatient); Weekly (outpatient)  Daily (inpatient), Between patients (outpatient) |
| Television | A456II Disinfectant Cleaner | EVS | Visibly Soiled/Discharge |
| Traction – on bed  Traction – off bed | PDI Super-Sani Wipe;  A-456II Disinfectant Cleaner | PCS  EVS | Between patient use and if visibly soiled  Discharge and as needed |
| Transport backpacks | Clorox Hydrogen Peroxide spray | User | Between patient use |
| Ventilators and Respiratory Equipment | PDI Super-Sani Wipe or Dispatch Wipe | Agiliti | Between patient use and if visibly soiled |
| Walkers – Physical Therapy | PDI Super-Sani Wipe | User | Between patients and as needed if soiled |
| Wall-Mounted Electronic Thermometers/Holders | A456-II Disinfectant Cleaner | EVS | Discharge/if soiled |
| Warmer, Incubator (Isolette) | PDI Sani-Cloth A3 (alcohol-free grey top wipes); note 3 minute dwell time | CS  EVS | Daily wipe down of outside  As needed and prior to redeployment to unit |
| Water fountains | A-456II Disinfectant Cleaner | EVS | Daily and as needed |
| Wheelchairs, cushions & covers | PDI Super-Sani Wipe | CS/User | Between patient use and as needed if soiled |
| Workroom/nurse’s station Keyboard/mouse/Workstations on Wheels (WOWs) | PDI Super-Sani Wipe  A 456 II Disinfectant Cleaner | CS/User  EVS | Once per shift and when visibly soiled  Quarterly deep clean |
| X-Ray Aprons and Thyroid Shields | PDI Super-Sani Wipe | CS/User | As needed when visibly soiled |

If equipment is used for a patient isolated for infection with ***Clostridium difficile or Norovirus (*Contact + or Combined-Droplet + Precautions)** use Dispatch wipe or Dispatch solution instead of listed cleaner/disinfectant.